## mTB-PT Result Submission Form
Proﬁciency Test Panel ID: | [6 empty] | Country: | [9 empty] | Submission Due Date:
[Insert Panel ID] | [6 empty] | [Insert Country Name] | [9 empty] | [Insert Submission Due Date]
Instructions: Fill in the fields below corresponding to the results from testing each sample provided. Document the error code in the Error Code column for tests resulting in error. Record the cycle thresholds (Ct) in the cells provided for all successful tests. Fill information on back of form for records.
Name of Site |  | [Insert Site Name] | [11 empty] | Date Panel Received |  |  |  | Date Results Reported
Site PT-ID Number |  | [Insert PT-ID Number]
Date of Last Instrument Calibration
ePT Username |  | [Insert Participant Username] | [11 empty] | Assay (Circle One) |  |  |  |  | MTB/RIF |  | MTB/RIF Ultra
Cartridge/Assay Lot Number
ePT Password |  | [Insert ePT Password] | [11 empty] | Expiration Date of Cartridge/Assay
|  | TB Detection Result | [5 empty] | Rif Result |  |  |  | Uninterpretable Result |  |  |  | Cycle Threshold (Ct) Value
Test Sample ID | Date Tested | NOT DETECTED | TRACE | VERY LOW | LOW | MEDIUM | HIGH | N/A | NOT DETECTED | DETECTED | INDETERMINATE | INVALID | NO RESULT | ERROR | ERROR CODE | Probe D / SPC | Probe C / IS1081- IS6110 | Probe E / rpoB1 | Probe B / rpoB2 | SPC / rpoB3 | Probe A / rpoB4 | GeneXpert Module Number
[Panel ID-1]
[Panel ID-2]
[Panel ID-3]
[Panel ID-4]
[Panel ID-5]
Comments:
This form is for your site's proﬁciency test records only. All results must be submitted in ePT at https://mtbept.com using your username and password above.
ATTESTATION
We the undersigned, recognizing that some special handling may be required due to the nature of Proﬁciency Test (PT) materials, have as closely as is practical, performed the analyses on these specimens in the same manner as regular patient specimens. We conﬁrm that results were not shared, nor PT specimens referred or tested, outside of our facility.
Laboratory Manager (or Designee) _________________________ Date:___________________
Testing Personnel ____________________________ Date:___________________
Testing Personnel ____________________________ Date:___________________
Instrument User (Tester)
Did supervisor review panel results? | [10 empty] | Yes / No
Supervisor name:
If you are experiencing challenges testing the panel or submitting results please contact your country's PT Coordinator. Please direct ePT systems questions and support requests related to participant log-in and credentialing to our web management team at support@mtbept.com for review.