## Sheet1
Proficiency Test Panel ID: | [6 empty] | Country: | [8 empty] | Submission Due Date:
Instructions: Fill in the circles below corresponding to the results from testing each sample provided. Document the error code in the Error Code column for tests resulting in error. Record the cycle thresholds (Ct) in the cells provided for all successful tests. Fill information on back of form for records.
Name of Site | [13 empty] | Date Panel Received |  |  |  | Date Results Reported
Site PT-ID Number
Date of Last GeneXpert Instrument Calibration
ePT Username | [13 empty] | Assay (Tick One) |  |  |  |  | MTB/RIF |  | MTB/RIF Ultra
Cartridge Lot Number
ePT Password | [13 empty] | Expiration Date of Cartridge
|  | TB Detection Result |  |  |  | Rif Result |  |  |  | Uninterpretable Result |  |  |  | Cycle Threshold (Ct) Value
Test Sample ID | Date Tested | NOT DETECTED | DETECTED | INVALID | ERROR | N/A | NOT DETECTED | DETECTED | INDETERMINATE | INVALID | NO RESULT | ERROR | ERROR CODE | MTB/RIF Probe D / Ultra SPC | Probe C / IS1081-IS6110 | Probe E / rpoB1 | Probe B / rpoB2 | SPC / rpoB3 | Probe A / rpoB4 | Gene-Xpert Module Number
Comments:
This form is for your site's proficiency test records only. All results must be submitted on ePT using your username and password above.
Additional Information needed for ePT
How many Xpert TB tests have been conducted by this site in the last full month? | [13 empty] | ATTESTATION We the undersigned, recognizing that some special handling may be required due to the nature of Proficiency Test (PT) materials, have as closely as is practical, performed the analyses on these specimens in the same manner as regular patient specimens. We confirm that results were not shared, nor PT specimens referred or tested, outside of our facility. Laboratory Manager (or Designee) ____________________ Date:______ Testing Personnel _______________________ Date:______________ Testing Personnel _______________________ Date:______________
How many errors occurred during testing in the last full month?
What were the error codes?
Was monthly maintenance done for the GeneXpert? |  |  |  |  | Yes / No
Monthly maintenance done by: Date / Technologist |  |  |  |  | /
GeneXpert Serial Number
Date GX Instrument Installed
Instrument User (Tester)
Did supervisor review panel results? |  |  |  |  | Yes / No
Supervisor name:
Please fill information on back of form

## Sheet2
we